## ET110A1
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | East window Path 1 inside surface convective flux | East window Path 1 inside surface radiative flux | East window Path 1 surface total convective and radiative flux | East window Path 2 inside surface convective flux | East window Path 2 inside surface radiative flux | East window Path 2 surface total convective and radiative flux | East window Path 3 inside surface convective flux | East window Path 3 inside surface radiative flux | East window Path 3 surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,ewin1,conv | q,ewin1,rad | q,ewin1,tot | q,ewin2,conv | q,ewin2,rad | q,ewin2,tot | q,ewin3,conv | q,ewin3,rad | q,ewin3,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-01-26 12:00
2000-01-26 13:00
2000-01-26 14:00
2000-01-26 15:00
2000-01-26 16:00
2000-01-26 17:00
2000-01-26 18:00
2000-01-26 19:00
2000-01-26 20:00
2000-01-26 21:00
2000-01-26 22:00
2000-01-26 23:00
2000-01-27
2000-01-27 01:00
2000-01-27 02:00
2000-01-27 03:00
2000-01-27 04:00
2000-01-27 05:00
2000-01-27 06:00
2000-01-27 07:00
2000-01-27 08:00
2000-01-27 09:00
2000-01-27 10:00
2000-01-27 11:00
2000-01-27 12:00
2000-01-27 13:00
2000-01-27 14:00
2000-01-27 15:00
2000-01-27 16:00
2000-01-27 17:00
2000-01-27 18:00
2000-01-27 19:00
2000-01-27 20:00
2000-01-27 21:00
2000-01-27 22:00
2000-01-27 23:00
2000-01-28
2000-01-28 01:00
2000-01-28 02:00
2000-01-28 03:00
2000-01-28 04:00
2000-01-28 05:00
2000-01-28 06:00
2000-01-28 07:00
2000-01-28 08:00
2000-01-28 09:00
2000-01-28 10:00
2000-01-28 11:00
2000-01-28 12:00
2000-01-28 13:00
2000-01-28 14:00
2000-01-28 15:00
2000-01-28 16:00
2000-01-28 17:00
2000-01-28 18:00
2000-01-28 19:00
2000-01-28 20:00
2000-01-28 21:00
2000-01-28 22:00
2000-01-28 23:00
2000-01-29
2000-01-29 01:00
2000-01-29 02:00
2000-01-29 03:00
2000-01-29 04:00
2000-01-29 05:00
2000-01-29 06:00
2000-01-29 07:00
2000-01-29 08:00
2000-01-29 09:00
2000-01-29 10:00
2000-01-29 11:00
2000-01-29 12:00
2000-01-29 13:00
2000-01-29 14:00
2000-01-29 15:00
2000-01-29 16:00
2000-01-29 17:00
2000-01-29 18:00
2000-01-29 19:00
2000-01-29 20:00
2000-01-29 21:00
2000-01-29 22:00
2000-01-29 23:00
2000-01-30
2000-01-30 01:00
2000-01-30 02:00
2000-01-30 03:00
2000-01-30 04:00
2000-01-30 05:00
2000-01-30 06:00
2000-01-30 07:00
2000-01-30 08:00
2000-01-30 09:00
2000-01-30 10:00
2000-01-30 11:00
2000-01-30 12:00
2000-01-30 13:00
2000-01-30 14:00
2000-01-30 15:00
2000-01-30 16:00
2000-01-30 17:00
2000-01-30 18:00
2000-01-30 19:00
2000-01-30 20:00
2000-01-30 21:00
2000-01-30 22:00
2000-01-30 23:00
2000-01-31
2000-01-31 01:00
2000-01-31 02:00
2000-01-31 03:00
2000-01-31 04:00
2000-01-31 05:00
2000-01-31 06:00
2000-01-31 07:00
2000-01-31 08:00
2000-01-31 09:00
2000-01-31 10:00
2000-01-31 11:00
2000-01-31 12:00
2000-01-31 13:00
2000-01-31 14:00
2000-01-31 15:00
2000-01-31 16:00
2000-01-31 17:00
2000-01-31 18:00
2000-01-31 19:00
2000-01-31 20:00
2000-01-31 21:00
2000-01-31 22:00
2000-01-31 23:00
2000-02-01
2000-02-01 01:00
2000-02-01 02:00
2000-02-01 03:00
2000-02-01 04:00
2000-02-01 05:00
2000-02-01 06:00
2000-02-01 07:00
2000-02-01 08:00
2000-02-01 09:00
2000-02-01 10:00
2000-02-01 11:00
2000-02-01 12:00
2000-02-01 13:00
2000-02-01 14:00
2000-02-01 15:00
2000-02-01 16:00
2000-02-01 17:00
2000-02-01 18:00
2000-02-01 19:00
2000-02-01 20:00
2000-02-01 21:00
2000-02-01 22:00
2000-02-01 23:00
2000-02-02
2000-02-02 01:00
2000-02-02 02:00
2000-02-02 03:00
2000-02-02 04:00
2000-02-02 05:00
2000-02-02 06:00
2000-02-02 07:00
2000-02-02 08:00
2000-02-02 09:00
2000-02-02 10:00
2000-02-02 11:00
2000-02-02 12:00
2000-02-02 13:00
2000-02-02 14:00
2000-02-02 15:00
2000-02-02 16:00
2000-02-02 17:00
2000-02-02 18:00
2000-02-02 19:00
2000-02-02 20:00
2000-02-02 21:00
2000-02-02 22:00
2000-02-02 23:00
2000-02-03
2000-02-03 01:00
2000-02-03 02:00
2000-02-03 03:00
2000-02-03 04:00
2000-02-03 05:00
2000-02-03 06:00
2000-02-03 07:00
2000-02-03 08:00
2000-02-03 09:00
2000-02-03 10:00
2000-02-03 11:00
2000-02-03 12:00
2000-02-03 13:00
2000-02-03 14:00
2000-02-03 15:00
2000-02-03 16:00
2000-02-03 17:00
2000-02-03 18:00
2000-02-03 19:00
2000-02-03 20:00
2000-02-03 21:00
2000-02-03 22:00
2000-02-03 23:00
2000-02-04
2000-02-04 01:00
2000-02-04 02:00
2000-02-04 03:00
2000-02-04 04:00
2000-02-04 05:00
2000-02-04 06:00
2000-02-04 07:00
2000-02-04 08:00
2000-02-04 09:00
2000-02-04 10:00
2000-02-04 11:00
2000-02-04 12:00
2000-02-04 13:00
2000-02-04 14:00
2000-02-04 15:00
2000-02-04 16:00
2000-02-04 17:00
2000-02-04 18:00
2000-02-04 19:00
2000-02-04 20:00
2000-02-04 21:00
2000-02-04 22:00
2000-02-04 23:00
2000-02-05
2000-02-05 01:00
2000-02-05 02:00
2000-02-05 03:00
2000-02-05 04:00
2000-02-05 05:00
2000-02-05 06:00
2000-02-05 07:00
2000-02-05 08:00
2000-02-05 09:00
2000-02-05 10:00
2000-02-05 11:00
2000-02-05 12:00
2000-02-05 13:00
2000-02-05 14:00
2000-02-05 15:00
2000-02-05 16:00
2000-02-05 17:00
2000-02-05 18:00
2000-02-05 19:00
2000-02-05 20:00
2000-02-05 21:00
2000-02-05 22:00
2000-02-05 23:00
2000-02-06
2000-02-06 01:00
2000-02-06 02:00
2000-02-06 03:00
2000-02-06 04:00
2000-02-06 05:00
2000-02-06 06:00
2000-02-06 07:00
2000-02-06 08:00
2000-02-06 09:00
2000-02-06 10:00
2000-02-06 11:00
2000-02-06 12:00
2000-02-06 13:00
2000-02-06 14:00
2000-02-06 15:00
2000-02-06 16:00
2000-02-06 17:00
2000-02-06 18:00
2000-02-06 19:00
2000-02-06 20:00
2000-02-06 21:00
2000-02-06 22:00
2000-02-06 23:00
2000-02-07
2000-02-07 01:00
2000-02-07 02:00
2000-02-07 03:00
2000-02-07 04:00
2000-02-07 05:00
2000-02-07 06:00
2000-02-07 07:00
2000-02-07 08:00
2000-02-07 09:00
2000-02-07 10:00
2000-02-07 11:00
2000-02-07 12:00
2000-02-07 13:00
2000-02-07 14:00
2000-02-07 15:00
2000-02-07 16:00
2000-02-07 17:00
2000-02-07 18:00
2000-02-07 19:00
2000-02-07 20:00
2000-02-07 21:00
2000-02-07 22:00
2000-02-07 23:00
2000-02-08
2000-02-08 01:00
2000-02-08 02:00
2000-02-08 03:00
2000-02-08 04:00
2000-02-08 05:00
2000-02-08 06:00
2000-02-08 07:00
2000-02-08 08:00
2000-02-08 09:00
2000-02-08 10:00
2000-02-08 11:00
2000-02-08 12:00
2000-02-08 13:00
2000-02-08 14:00
2000-02-08 15:00
2000-02-08 16:00
2000-02-08 17:00
2000-02-08 18:00
2000-02-08 19:00
2000-02-08 20:00
2000-02-08 21:00
2000-02-08 22:00
2000-02-08 23:00
2000-02-09
2000-02-09 01:00
2000-02-09 02:00
2000-02-09 03:00
2000-02-09 04:00
2000-02-09 05:00
2000-02-09 06:00
2000-02-09 07:00
2000-02-09 08:00
2000-02-09 09:00
2000-02-09 10:00
2000-02-09 11:00
2000-02-09 12:00
2000-02-09 13:00
2000-02-09 14:00
2000-02-09 15:00
2000-02-09 16:00
2000-02-09 17:00
2000-02-09 18:00
2000-02-09 19:00
2000-02-09 20:00
2000-02-09 21:00
2000-02-09 22:00
2000-02-09 23:00
2000-02-10
2000-02-10 01:00
2000-02-10 02:00
2000-02-10 03:00
2000-02-10 04:00
2000-02-10 05:00
2000-02-10 06:00
2000-02-10 07:00
2000-02-10 08:00
2000-02-10 09:00
2000-02-10 10:00
2000-02-10 11:00
2000-02-10 12:00
2000-02-10 13:00
2000-02-10 14:00
2000-02-10 15:00
2000-02-10 16:00
2000-02-10 17:00
2000-02-10 18:00
2000-02-10 19:00
2000-02-10 20:00
2000-02-10 21:00
2000-02-10 22:00
2000-02-10 23:00
2000-02-11
2000-02-11 01:00
2000-02-11 02:00
2000-02-11 03:00
2000-02-11 04:00
2000-02-11 05:00
2000-02-11 06:00
2000-02-11 07:00
2000-02-11 08:00
2000-02-11 09:00
Formulas:
Date = [Date, row above]+(1/24)

## ET110A2
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | East window Path 1 inside surface convective flux | East window Path 1 inside surface radiative flux | East window Path 1 surface total convective and radiative flux | East window Path 2 inside surface convective flux | East window Path 2 inside surface radiative flux | East window Path 2 surface total convective and radiative flux | East window Path 3 inside surface convective flux | East window Path 3 inside surface radiative flux | East window Path 3 surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,ewin1,conv | q,ewin1,rad | q,ewin1,tot | q,ewin2,conv | q,ewin2,rad | q,ewin2,tot | q,ewin3,conv | q,ewin3,rad | q,ewin3,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-01-26 12:00
2000-01-26 13:00
2000-01-26 14:00
2000-01-26 15:00
2000-01-26 16:00
2000-01-26 17:00
2000-01-26 18:00
2000-01-26 19:00
2000-01-26 20:00
2000-01-26 21:00
2000-01-26 22:00
2000-01-26 23:00
2000-01-27
2000-01-27 01:00
2000-01-27 02:00
2000-01-27 03:00
2000-01-27 04:00
2000-01-27 05:00
2000-01-27 06:00
2000-01-27 07:00
2000-01-27 08:00
2000-01-27 09:00
2000-01-27 10:00
2000-01-27 11:00
2000-01-27 12:00
2000-01-27 13:00
2000-01-27 14:00
2000-01-27 15:00
2000-01-27 16:00
2000-01-27 17:00
2000-01-27 18:00
2000-01-27 19:00
2000-01-27 20:00
2000-01-27 21:00
2000-01-27 22:00
2000-01-27 23:00
2000-01-28
2000-01-28 01:00
2000-01-28 02:00
2000-01-28 03:00
2000-01-28 04:00
2000-01-28 05:00
2000-01-28 06:00
2000-01-28 07:00
2000-01-28 08:00
2000-01-28 09:00
2000-01-28 10:00
2000-01-28 11:00
2000-01-28 12:00
2000-01-28 13:00
2000-01-28 14:00
2000-01-28 15:00
2000-01-28 16:00
2000-01-28 17:00
2000-01-28 18:00
2000-01-28 19:00
2000-01-28 20:00
2000-01-28 21:00
2000-01-28 22:00
2000-01-28 23:00
2000-01-29
2000-01-29 01:00
2000-01-29 02:00
2000-01-29 03:00
2000-01-29 04:00
2000-01-29 05:00
2000-01-29 06:00
2000-01-29 07:00
2000-01-29 08:00
2000-01-29 09:00
2000-01-29 10:00
2000-01-29 11:00
2000-01-29 12:00
2000-01-29 13:00
2000-01-29 14:00
2000-01-29 15:00
2000-01-29 16:00
2000-01-29 17:00
2000-01-29 18:00
2000-01-29 19:00
2000-01-29 20:00
2000-01-29 21:00
2000-01-29 22:00
2000-01-29 23:00
2000-01-30
2000-01-30 01:00
2000-01-30 02:00
2000-01-30 03:00
2000-01-30 04:00
2000-01-30 05:00
2000-01-30 06:00
2000-01-30 07:00
2000-01-30 08:00
2000-01-30 09:00
2000-01-30 10:00
2000-01-30 11:00
2000-01-30 12:00
2000-01-30 13:00
2000-01-30 14:00
2000-01-30 15:00
2000-01-30 16:00
2000-01-30 17:00
2000-01-30 18:00
2000-01-30 19:00
2000-01-30 20:00
2000-01-30 21:00
2000-01-30 22:00
2000-01-30 23:00
2000-01-31
2000-01-31 01:00
2000-01-31 02:00
2000-01-31 03:00
2000-01-31 04:00
2000-01-31 05:00
2000-01-31 06:00
2000-01-31 07:00
2000-01-31 08:00
2000-01-31 09:00
2000-01-31 10:00
2000-01-31 11:00
2000-01-31 12:00
2000-01-31 13:00
2000-01-31 14:00
2000-01-31 15:00
2000-01-31 16:00
2000-01-31 17:00
2000-01-31 18:00
2000-01-31 19:00
2000-01-31 20:00
2000-01-31 21:00
2000-01-31 22:00
2000-01-31 23:00
2000-02-01
2000-02-01 01:00
2000-02-01 02:00
2000-02-01 03:00
2000-02-01 04:00
2000-02-01 05:00
2000-02-01 06:00
2000-02-01 07:00
2000-02-01 08:00
2000-02-01 09:00
2000-02-01 10:00
2000-02-01 11:00
2000-02-01 12:00
2000-02-01 13:00
2000-02-01 14:00
2000-02-01 15:00
2000-02-01 16:00
2000-02-01 17:00
2000-02-01 18:00
2000-02-01 19:00
2000-02-01 20:00
2000-02-01 21:00
2000-02-01 22:00
2000-02-01 23:00
2000-02-02
2000-02-02 01:00
2000-02-02 02:00
2000-02-02 03:00
2000-02-02 04:00
2000-02-02 05:00
2000-02-02 06:00
2000-02-02 07:00
2000-02-02 08:00
2000-02-02 09:00
2000-02-02 10:00
2000-02-02 11:00
2000-02-02 12:00
2000-02-02 13:00
2000-02-02 14:00
2000-02-02 15:00
2000-02-02 16:00
2000-02-02 17:00
2000-02-02 18:00
2000-02-02 19:00
2000-02-02 20:00
2000-02-02 21:00
2000-02-02 22:00
2000-02-02 23:00
2000-02-03
2000-02-03 01:00
2000-02-03 02:00
2000-02-03 03:00
2000-02-03 04:00
2000-02-03 05:00
2000-02-03 06:00
2000-02-03 07:00
2000-02-03 08:00
2000-02-03 09:00
2000-02-03 10:00
2000-02-03 11:00
2000-02-03 12:00
2000-02-03 13:00
2000-02-03 14:00
2000-02-03 15:00
2000-02-03 16:00
2000-02-03 17:00
2000-02-03 18:00
2000-02-03 19:00
2000-02-03 20:00
2000-02-03 21:00
2000-02-03 22:00
2000-02-03 23:00
2000-02-04
2000-02-04 01:00
2000-02-04 02:00
2000-02-04 03:00
2000-02-04 04:00
2000-02-04 05:00
2000-02-04 06:00
2000-02-04 07:00
2000-02-04 08:00
2000-02-04 09:00
2000-02-04 10:00
2000-02-04 11:00
2000-02-04 12:00
2000-02-04 13:00
2000-02-04 14:00
2000-02-04 15:00
2000-02-04 16:00
2000-02-04 17:00
2000-02-04 18:00
2000-02-04 19:00
2000-02-04 20:00
2000-02-04 21:00
2000-02-04 22:00
2000-02-04 23:00
2000-02-05
2000-02-05 01:00
2000-02-05 02:00
2000-02-05 03:00
2000-02-05 04:00
2000-02-05 05:00
2000-02-05 06:00
2000-02-05 07:00
2000-02-05 08:00
2000-02-05 09:00
2000-02-05 10:00
2000-02-05 11:00
2000-02-05 12:00
2000-02-05 13:00
2000-02-05 14:00
2000-02-05 15:00
2000-02-05 16:00
2000-02-05 17:00
2000-02-05 18:00
2000-02-05 19:00
2000-02-05 20:00
2000-02-05 21:00
2000-02-05 22:00
2000-02-05 23:00
2000-02-06
2000-02-06 01:00
2000-02-06 02:00
2000-02-06 03:00
2000-02-06 04:00
2000-02-06 05:00
2000-02-06 06:00
2000-02-06 07:00
2000-02-06 08:00
2000-02-06 09:00
2000-02-06 10:00
2000-02-06 11:00
2000-02-06 12:00
2000-02-06 13:00
2000-02-06 14:00
2000-02-06 15:00
2000-02-06 16:00
2000-02-06 17:00
2000-02-06 18:00
2000-02-06 19:00
2000-02-06 20:00
2000-02-06 21:00
2000-02-06 22:00
2000-02-06 23:00
2000-02-07
2000-02-07 01:00
2000-02-07 02:00
2000-02-07 03:00
2000-02-07 04:00
2000-02-07 05:00
2000-02-07 06:00
2000-02-07 07:00
2000-02-07 08:00
2000-02-07 09:00
2000-02-07 10:00
2000-02-07 11:00
2000-02-07 12:00
2000-02-07 13:00
2000-02-07 14:00
2000-02-07 15:00
2000-02-07 16:00
2000-02-07 17:00
2000-02-07 18:00
2000-02-07 19:00
2000-02-07 20:00
2000-02-07 21:00
2000-02-07 22:00
2000-02-07 23:00
2000-02-08
2000-02-08 01:00
2000-02-08 02:00
2000-02-08 03:00
2000-02-08 04:00
2000-02-08 05:00
2000-02-08 06:00
2000-02-08 07:00
2000-02-08 08:00
2000-02-08 09:00
2000-02-08 10:00
2000-02-08 11:00
2000-02-08 12:00
2000-02-08 13:00
2000-02-08 14:00
2000-02-08 15:00
2000-02-08 16:00
2000-02-08 17:00
2000-02-08 18:00
2000-02-08 19:00
2000-02-08 20:00
2000-02-08 21:00
2000-02-08 22:00
2000-02-08 23:00
2000-02-09
2000-02-09 01:00
2000-02-09 02:00
2000-02-09 03:00
2000-02-09 04:00
2000-02-09 05:00
2000-02-09 06:00
2000-02-09 07:00
2000-02-09 08:00
2000-02-09 09:00
2000-02-09 10:00
2000-02-09 11:00
2000-02-09 12:00
2000-02-09 13:00
2000-02-09 14:00
2000-02-09 15:00
2000-02-09 16:00
2000-02-09 17:00
2000-02-09 18:00
2000-02-09 19:00
2000-02-09 20:00
2000-02-09 21:00
2000-02-09 22:00
2000-02-09 23:00
2000-02-10
2000-02-10 01:00
2000-02-10 02:00
2000-02-10 03:00
2000-02-10 04:00
2000-02-10 05:00
2000-02-10 06:00
2000-02-10 07:00
2000-02-10 08:00
2000-02-10 09:00
2000-02-10 10:00
2000-02-10 11:00
2000-02-10 12:00
2000-02-10 13:00
2000-02-10 14:00
2000-02-10 15:00
2000-02-10 16:00
2000-02-10 17:00
2000-02-10 18:00
2000-02-10 19:00
2000-02-10 20:00
2000-02-10 21:00
2000-02-10 22:00
2000-02-10 23:00
2000-02-11
2000-02-11 01:00
2000-02-11 02:00
2000-02-11 03:00
2000-02-11 04:00
2000-02-11 05:00
2000-02-11 06:00
2000-02-11 07:00
2000-02-11 08:00
2000-02-11 09:00
Formulas:
Date = [Date, row above]+(1/24)

## ET110B1
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux | West window Path 1 inside surface convective flux | West window Path 1 inside surface radiative flux | West window Path 1 surface total convective and radiative flux | West window Path 2 inside surface convective flux | West window Path 2 inside surface radiative flux | West window Path 2 surface total convective and radiative flux | West window Path 3 inside surface convective flux | West window Path 3 inside surface radiative flux | West window Path 3 surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot | q,wwin1,conv | q,wwin1,rad | q,wwin1,tot | q,wwin2,conv | q,wwin2,rad | q,wwin2,tot | q,wwin3,conv | q,wwin3,rad | q,wwin3,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-01-26 12:00
2000-01-26 13:00
2000-01-26 14:00
2000-01-26 15:00
2000-01-26 16:00
2000-01-26 17:00
2000-01-26 18:00
2000-01-26 19:00
2000-01-26 20:00
2000-01-26 21:00
2000-01-26 22:00
2000-01-26 23:00
2000-01-27
2000-01-27 01:00
2000-01-27 02:00
2000-01-27 03:00
2000-01-27 04:00
2000-01-27 05:00
2000-01-27 06:00
2000-01-27 07:00
2000-01-27 08:00
2000-01-27 09:00
2000-01-27 10:00
2000-01-27 11:00
2000-01-27 12:00
2000-01-27 13:00
2000-01-27 14:00
2000-01-27 15:00
2000-01-27 16:00
2000-01-27 17:00
2000-01-27 18:00
2000-01-27 19:00
2000-01-27 20:00
2000-01-27 21:00
2000-01-27 22:00
2000-01-27 23:00
2000-01-28
2000-01-28 01:00
2000-01-28 02:00
2000-01-28 03:00
2000-01-28 04:00
2000-01-28 05:00
2000-01-28 06:00
2000-01-28 07:00
2000-01-28 08:00
2000-01-28 09:00
2000-01-28 10:00
2000-01-28 11:00
2000-01-28 12:00
2000-01-28 13:00
2000-01-28 14:00
2000-01-28 15:00
2000-01-28 16:00
2000-01-28 17:00
2000-01-28 18:00
2000-01-28 19:00
2000-01-28 20:00
2000-01-28 21:00
2000-01-28 22:00
2000-01-28 23:00
2000-01-29
2000-01-29 01:00
2000-01-29 02:00
2000-01-29 03:00
2000-01-29 04:00
2000-01-29 05:00
2000-01-29 06:00
2000-01-29 07:00
2000-01-29 08:00
2000-01-29 09:00
2000-01-29 10:00
2000-01-29 11:00
2000-01-29 12:00
2000-01-29 13:00
2000-01-29 14:00
2000-01-29 15:00
2000-01-29 16:00
2000-01-29 17:00
2000-01-29 18:00
2000-01-29 19:00
2000-01-29 20:00
2000-01-29 21:00
2000-01-29 22:00
2000-01-29 23:00
2000-01-30
2000-01-30 01:00
2000-01-30 02:00
2000-01-30 03:00
2000-01-30 04:00
2000-01-30 05:00
2000-01-30 06:00
2000-01-30 07:00
2000-01-30 08:00
2000-01-30 09:00
2000-01-30 10:00
2000-01-30 11:00
2000-01-30 12:00
2000-01-30 13:00
2000-01-30 14:00
2000-01-30 15:00
2000-01-30 16:00
2000-01-30 17:00
2000-01-30 18:00
2000-01-30 19:00
2000-01-30 20:00
2000-01-30 21:00
2000-01-30 22:00
2000-01-30 23:00
2000-01-31
2000-01-31 01:00
2000-01-31 02:00
2000-01-31 03:00
2000-01-31 04:00
2000-01-31 05:00
2000-01-31 06:00
2000-01-31 07:00
2000-01-31 08:00
2000-01-31 09:00
2000-01-31 10:00
2000-01-31 11:00
2000-01-31 12:00
2000-01-31 13:00
2000-01-31 14:00
2000-01-31 15:00
2000-01-31 16:00
2000-01-31 17:00
2000-01-31 18:00
2000-01-31 19:00
2000-01-31 20:00
2000-01-31 21:00
2000-01-31 22:00
2000-01-31 23:00
2000-02-01
2000-02-01 01:00
2000-02-01 02:00
2000-02-01 03:00
2000-02-01 04:00
2000-02-01 05:00
2000-02-01 06:00
2000-02-01 07:00
2000-02-01 08:00
2000-02-01 09:00
2000-02-01 10:00
2000-02-01 11:00
2000-02-01 12:00
2000-02-01 13:00
2000-02-01 14:00
2000-02-01 15:00
2000-02-01 16:00
2000-02-01 17:00
2000-02-01 18:00
2000-02-01 19:00
2000-02-01 20:00
2000-02-01 21:00
2000-02-01 22:00
2000-02-01 23:00
2000-02-02
2000-02-02 01:00
2000-02-02 02:00
2000-02-02 03:00
2000-02-02 04:00
2000-02-02 05:00
2000-02-02 06:00
2000-02-02 07:00
2000-02-02 08:00
2000-02-02 09:00
2000-02-02 10:00
2000-02-02 11:00
2000-02-02 12:00
2000-02-02 13:00
2000-02-02 14:00
2000-02-02 15:00
2000-02-02 16:00
2000-02-02 17:00
2000-02-02 18:00
2000-02-02 19:00
2000-02-02 20:00
2000-02-02 21:00
2000-02-02 22:00
2000-02-02 23:00
2000-02-03
2000-02-03 01:00
2000-02-03 02:00
2000-02-03 03:00
2000-02-03 04:00
2000-02-03 05:00
2000-02-03 06:00
2000-02-03 07:00
2000-02-03 08:00
2000-02-03 09:00
2000-02-03 10:00
2000-02-03 11:00
2000-02-03 12:00
2000-02-03 13:00
2000-02-03 14:00
2000-02-03 15:00
2000-02-03 16:00
2000-02-03 17:00
2000-02-03 18:00
2000-02-03 19:00
2000-02-03 20:00
2000-02-03 21:00
2000-02-03 22:00
2000-02-03 23:00
2000-02-04
2000-02-04 01:00
2000-02-04 02:00
2000-02-04 03:00
2000-02-04 04:00
2000-02-04 05:00
2000-02-04 06:00
2000-02-04 07:00
2000-02-04 08:00
2000-02-04 09:00
2000-02-04 10:00
2000-02-04 11:00
2000-02-04 12:00
2000-02-04 13:00
2000-02-04 14:00
2000-02-04 15:00
2000-02-04 16:00
2000-02-04 17:00
2000-02-04 18:00
2000-02-04 19:00
2000-02-04 20:00
2000-02-04 21:00
2000-02-04 22:00
2000-02-04 23:00
2000-02-05
2000-02-05 01:00
2000-02-05 02:00
2000-02-05 03:00
2000-02-05 04:00
2000-02-05 05:00
2000-02-05 06:00
2000-02-05 07:00
2000-02-05 08:00
2000-02-05 09:00
2000-02-05 10:00
2000-02-05 11:00
2000-02-05 12:00
2000-02-05 13:00
2000-02-05 14:00
2000-02-05 15:00
2000-02-05 16:00
2000-02-05 17:00
2000-02-05 18:00
2000-02-05 19:00
2000-02-05 20:00
2000-02-05 21:00
2000-02-05 22:00
2000-02-05 23:00
2000-02-06
2000-02-06 01:00
2000-02-06 02:00
2000-02-06 03:00
2000-02-06 04:00
2000-02-06 05:00
2000-02-06 06:00
2000-02-06 07:00
2000-02-06 08:00
2000-02-06 09:00
2000-02-06 10:00
2000-02-06 11:00
2000-02-06 12:00
2000-02-06 13:00
2000-02-06 14:00
2000-02-06 15:00
2000-02-06 16:00
2000-02-06 17:00
2000-02-06 18:00
2000-02-06 19:00
2000-02-06 20:00
2000-02-06 21:00
2000-02-06 22:00
2000-02-06 23:00
2000-02-07
2000-02-07 01:00
2000-02-07 02:00
2000-02-07 03:00
2000-02-07 04:00
2000-02-07 05:00
2000-02-07 06:00
2000-02-07 07:00
2000-02-07 08:00
2000-02-07 09:00
2000-02-07 10:00
2000-02-07 11:00
2000-02-07 12:00
2000-02-07 13:00
2000-02-07 14:00
2000-02-07 15:00
2000-02-07 16:00
2000-02-07 17:00
2000-02-07 18:00
2000-02-07 19:00
2000-02-07 20:00
2000-02-07 21:00
2000-02-07 22:00
2000-02-07 23:00
2000-02-08
2000-02-08 01:00
2000-02-08 02:00
2000-02-08 03:00
2000-02-08 04:00
2000-02-08 05:00
2000-02-08 06:00
2000-02-08 07:00
2000-02-08 08:00
2000-02-08 09:00
2000-02-08 10:00
2000-02-08 11:00
2000-02-08 12:00
2000-02-08 13:00
2000-02-08 14:00
2000-02-08 15:00
2000-02-08 16:00
2000-02-08 17:00
2000-02-08 18:00
2000-02-08 19:00
2000-02-08 20:00
2000-02-08 21:00
2000-02-08 22:00
2000-02-08 23:00
2000-02-09
2000-02-09 01:00
2000-02-09 02:00
2000-02-09 03:00
2000-02-09 04:00
2000-02-09 05:00
2000-02-09 06:00
2000-02-09 07:00
2000-02-09 08:00
2000-02-09 09:00
2000-02-09 10:00
2000-02-09 11:00
2000-02-09 12:00
2000-02-09 13:00
2000-02-09 14:00
2000-02-09 15:00
2000-02-09 16:00
2000-02-09 17:00
2000-02-09 18:00
2000-02-09 19:00
2000-02-09 20:00
2000-02-09 21:00
2000-02-09 22:00
2000-02-09 23:00
2000-02-10
2000-02-10 01:00
2000-02-10 02:00
2000-02-10 03:00
2000-02-10 04:00
2000-02-10 05:00
2000-02-10 06:00
2000-02-10 07:00
2000-02-10 08:00
2000-02-10 09:00
2000-02-10 10:00
2000-02-10 11:00
2000-02-10 12:00
2000-02-10 13:00
2000-02-10 14:00
2000-02-10 15:00
2000-02-10 16:00
2000-02-10 17:00
2000-02-10 18:00
2000-02-10 19:00
2000-02-10 20:00
2000-02-10 21:00
2000-02-10 22:00
2000-02-10 23:00
2000-02-11
2000-02-11 01:00
2000-02-11 02:00
2000-02-11 03:00
2000-02-11 04:00
2000-02-11 05:00
2000-02-11 06:00
2000-02-11 07:00
2000-02-11 08:00
2000-02-11 09:00
Formulas:
Date = [Date, row above]+(1/24)

## ET110B2
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux | West window Path 1 inside surface convective flux | West window Path 1 inside surface radiative flux | West window Path 1 surface total convective and radiative flux | West window Path 2 inside surface convective flux | West window Path 2 inside surface radiative flux | West window Path 2 surface total convective and radiative flux | West window Path 3 inside surface convective flux | West window Path 3 inside surface radiative flux | West window Path 3 surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot | q,wwin1,conv | q,wwin1,rad | q,wwin1,tot | q,wwin2,conv | q,wwin2,rad | q,wwin2,tot | q,wwin3,conv | q,wwin3,rad | q,wwin3,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-01-26 12:00
2000-01-26 13:00
2000-01-26 14:00
2000-01-26 15:00
2000-01-26 16:00
2000-01-26 17:00
2000-01-26 18:00
2000-01-26 19:00
2000-01-26 20:00
2000-01-26 21:00
2000-01-26 22:00
2000-01-26 23:00
2000-01-27
2000-01-27 01:00
2000-01-27 02:00
2000-01-27 03:00
2000-01-27 04:00
2000-01-27 05:00
2000-01-27 06:00
2000-01-27 07:00
2000-01-27 08:00
2000-01-27 09:00
2000-01-27 10:00
2000-01-27 11:00
2000-01-27 12:00
2000-01-27 13:00
2000-01-27 14:00
2000-01-27 15:00
2000-01-27 16:00
2000-01-27 17:00
2000-01-27 18:00
2000-01-27 19:00
2000-01-27 20:00
2000-01-27 21:00
2000-01-27 22:00
2000-01-27 23:00
2000-01-28
2000-01-28 01:00
2000-01-28 02:00
2000-01-28 03:00
2000-01-28 04:00
2000-01-28 05:00
2000-01-28 06:00
2000-01-28 07:00
2000-01-28 08:00
2000-01-28 09:00
2000-01-28 10:00
2000-01-28 11:00
2000-01-28 12:00
2000-01-28 13:00
2000-01-28 14:00
2000-01-28 15:00
2000-01-28 16:00
2000-01-28 17:00
2000-01-28 18:00
2000-01-28 19:00
2000-01-28 20:00
2000-01-28 21:00
2000-01-28 22:00
2000-01-28 23:00
2000-01-29
2000-01-29 01:00
2000-01-29 02:00
2000-01-29 03:00
2000-01-29 04:00
2000-01-29 05:00
2000-01-29 06:00
2000-01-29 07:00
2000-01-29 08:00
2000-01-29 09:00
2000-01-29 10:00
2000-01-29 11:00
2000-01-29 12:00
2000-01-29 13:00
2000-01-29 14:00
2000-01-29 15:00
2000-01-29 16:00
2000-01-29 17:00
2000-01-29 18:00
2000-01-29 19:00
2000-01-29 20:00
2000-01-29 21:00
2000-01-29 22:00
2000-01-29 23:00
2000-01-30
2000-01-30 01:00
2000-01-30 02:00
2000-01-30 03:00
2000-01-30 04:00
2000-01-30 05:00
2000-01-30 06:00
2000-01-30 07:00
2000-01-30 08:00
2000-01-30 09:00
2000-01-30 10:00
2000-01-30 11:00
2000-01-30 12:00
2000-01-30 13:00
2000-01-30 14:00
2000-01-30 15:00
2000-01-30 16:00
2000-01-30 17:00
2000-01-30 18:00
2000-01-30 19:00
2000-01-30 20:00
2000-01-30 21:00
2000-01-30 22:00
2000-01-30 23:00
2000-01-31
2000-01-31 01:00
2000-01-31 02:00
2000-01-31 03:00
2000-01-31 04:00
2000-01-31 05:00
2000-01-31 06:00
2000-01-31 07:00
2000-01-31 08:00
2000-01-31 09:00
2000-01-31 10:00
2000-01-31 11:00
2000-01-31 12:00
2000-01-31 13:00
2000-01-31 14:00
2000-01-31 15:00
2000-01-31 16:00
2000-01-31 17:00
2000-01-31 18:00
2000-01-31 19:00
2000-01-31 20:00
2000-01-31 21:00
2000-01-31 22:00
2000-01-31 23:00
2000-02-01
2000-02-01 01:00
2000-02-01 02:00
2000-02-01 03:00
2000-02-01 04:00
2000-02-01 05:00
2000-02-01 06:00
2000-02-01 07:00
2000-02-01 08:00
2000-02-01 09:00
2000-02-01 10:00
2000-02-01 11:00
2000-02-01 12:00
2000-02-01 13:00
2000-02-01 14:00
2000-02-01 15:00
2000-02-01 16:00
2000-02-01 17:00
2000-02-01 18:00
2000-02-01 19:00
2000-02-01 20:00
2000-02-01 21:00
2000-02-01 22:00
2000-02-01 23:00
2000-02-02
2000-02-02 01:00
2000-02-02 02:00
2000-02-02 03:00
2000-02-02 04:00
2000-02-02 05:00
2000-02-02 06:00
2000-02-02 07:00
2000-02-02 08:00
2000-02-02 09:00
2000-02-02 10:00
2000-02-02 11:00
2000-02-02 12:00
2000-02-02 13:00
2000-02-02 14:00
2000-02-02 15:00
2000-02-02 16:00
2000-02-02 17:00
2000-02-02 18:00
2000-02-02 19:00
2000-02-02 20:00
2000-02-02 21:00
2000-02-02 22:00
2000-02-02 23:00
2000-02-03
2000-02-03 01:00
2000-02-03 02:00
2000-02-03 03:00
2000-02-03 04:00
2000-02-03 05:00
2000-02-03 06:00
2000-02-03 07:00
2000-02-03 08:00
2000-02-03 09:00
2000-02-03 10:00
2000-02-03 11:00
2000-02-03 12:00
2000-02-03 13:00
2000-02-03 14:00
2000-02-03 15:00
2000-02-03 16:00
2000-02-03 17:00
2000-02-03 18:00
2000-02-03 19:00
2000-02-03 20:00
2000-02-03 21:00
2000-02-03 22:00
2000-02-03 23:00
2000-02-04
2000-02-04 01:00
2000-02-04 02:00
2000-02-04 03:00
2000-02-04 04:00
2000-02-04 05:00
2000-02-04 06:00
2000-02-04 07:00
2000-02-04 08:00
2000-02-04 09:00
2000-02-04 10:00
2000-02-04 11:00
2000-02-04 12:00
2000-02-04 13:00
2000-02-04 14:00
2000-02-04 15:00
2000-02-04 16:00
2000-02-04 17:00
2000-02-04 18:00
2000-02-04 19:00
2000-02-04 20:00
2000-02-04 21:00
2000-02-04 22:00
2000-02-04 23:00
2000-02-05
2000-02-05 01:00
2000-02-05 02:00
2000-02-05 03:00
2000-02-05 04:00
2000-02-05 05:00
2000-02-05 06:00
2000-02-05 07:00
2000-02-05 08:00
2000-02-05 09:00
2000-02-05 10:00
2000-02-05 11:00
2000-02-05 12:00
2000-02-05 13:00
2000-02-05 14:00
2000-02-05 15:00
2000-02-05 16:00
2000-02-05 17:00
2000-02-05 18:00
2000-02-05 19:00
2000-02-05 20:00
2000-02-05 21:00
2000-02-05 22:00
2000-02-05 23:00
2000-02-06
2000-02-06 01:00
2000-02-06 02:00
2000-02-06 03:00
2000-02-06 04:00
2000-02-06 05:00
2000-02-06 06:00
2000-02-06 07:00
2000-02-06 08:00
2000-02-06 09:00
2000-02-06 10:00
2000-02-06 11:00
2000-02-06 12:00
2000-02-06 13:00
2000-02-06 14:00
2000-02-06 15:00
2000-02-06 16:00
2000-02-06 17:00
2000-02-06 18:00
2000-02-06 19:00
2000-02-06 20:00
2000-02-06 21:00
2000-02-06 22:00
2000-02-06 23:00
2000-02-07
2000-02-07 01:00
2000-02-07 02:00
2000-02-07 03:00
2000-02-07 04:00
2000-02-07 05:00
2000-02-07 06:00
2000-02-07 07:00
2000-02-07 08:00
2000-02-07 09:00
2000-02-07 10:00
2000-02-07 11:00
2000-02-07 12:00
2000-02-07 13:00
2000-02-07 14:00
2000-02-07 15:00
2000-02-07 16:00
2000-02-07 17:00
2000-02-07 18:00
2000-02-07 19:00
2000-02-07 20:00
2000-02-07 21:00
2000-02-07 22:00
2000-02-07 23:00
2000-02-08
2000-02-08 01:00
2000-02-08 02:00
2000-02-08 03:00
2000-02-08 04:00
2000-02-08 05:00
2000-02-08 06:00
2000-02-08 07:00
2000-02-08 08:00
2000-02-08 09:00
2000-02-08 10:00
2000-02-08 11:00
2000-02-08 12:00
2000-02-08 13:00
2000-02-08 14:00
2000-02-08 15:00
2000-02-08 16:00
2000-02-08 17:00
2000-02-08 18:00
2000-02-08 19:00
2000-02-08 20:00
2000-02-08 21:00
2000-02-08 22:00
2000-02-08 23:00
2000-02-09
2000-02-09 01:00
2000-02-09 02:00
2000-02-09 03:00
2000-02-09 04:00
2000-02-09 05:00
2000-02-09 06:00
2000-02-09 07:00
2000-02-09 08:00
2000-02-09 09:00
2000-02-09 10:00
2000-02-09 11:00
2000-02-09 12:00
2000-02-09 13:00
2000-02-09 14:00
2000-02-09 15:00
2000-02-09 16:00
2000-02-09 17:00
2000-02-09 18:00
2000-02-09 19:00
2000-02-09 20:00
2000-02-09 21:00
2000-02-09 22:00
2000-02-09 23:00
2000-02-10
2000-02-10 01:00
2000-02-10 02:00
2000-02-10 03:00
2000-02-10 04:00
2000-02-10 05:00
2000-02-10 06:00
2000-02-10 07:00
2000-02-10 08:00
2000-02-10 09:00
2000-02-10 10:00
2000-02-10 11:00
2000-02-10 12:00
2000-02-10 13:00
2000-02-10 14:00
2000-02-10 15:00
2000-02-10 16:00
2000-02-10 17:00
2000-02-10 18:00
2000-02-10 19:00
2000-02-10 20:00
2000-02-10 21:00
2000-02-10 22:00
2000-02-10 23:00
2000-02-11
2000-02-11 01:00
2000-02-11 02:00
2000-02-11 03:00
2000-02-11 04:00
2000-02-11 05:00
2000-02-11 06:00
2000-02-11 07:00
2000-02-11 08:00
2000-02-11 09:00
Formulas:
Date = [Date, row above]+(1/24)

## ET100A1
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | East window Path 1 inside surface convective flux | East window Path 1 inside surface radiative flux | East window Path 1 surface total convective and radiative flux | East window Path 2 inside surface convective flux | East window Path 2 inside surface radiative flux | East window Path 2 surface total convective and radiative flux | East window Path 3 inside surface convective flux | East window Path 3 inside surface radiative flux | East window Path 3 surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,ewin1,conv | q,ewin1,rad | q,ewin1,tot | q,ewin2,conv | q,ewin2,rad | q,ewin2,tot | q,ewin3,conv | q,ewin3,rad | q,ewin3,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-09-08 16:00
2000-09-08 17:00
2000-09-08 18:00
2000-09-08 19:00
2000-09-08 20:00
2000-09-08 21:00
2000-09-08 22:00
2000-09-08 23:00
2000-09-09
2000-09-09 01:00
2000-09-09 02:00
2000-09-09 03:00
2000-09-09 04:00
2000-09-09 05:00
2000-09-09 06:00
2000-09-09 07:00
2000-09-09 08:00
2000-09-09 09:00
2000-09-09 10:00
2000-09-09 11:00
2000-09-09 12:00
2000-09-09 13:00
2000-09-09 14:00
2000-09-09 15:00
2000-09-09 16:00
2000-09-09 17:00
2000-09-09 18:00
2000-09-09 19:00
2000-09-09 20:00
2000-09-09 21:00
2000-09-09 22:00
2000-09-09 23:00
2000-09-10
2000-09-10 01:00
2000-09-10 02:00
2000-09-10 03:00
2000-09-10 04:00
2000-09-10 05:00
2000-09-10 06:00
2000-09-10 07:00
2000-09-10 08:00
2000-09-10 09:00
2000-09-10 10:00
2000-09-10 11:00
2000-09-10 12:00
2000-09-10 13:00
2000-09-10 14:00
2000-09-10 15:00
2000-09-10 16:00
2000-09-10 17:00
2000-09-10 18:00
2000-09-10 19:00
2000-09-10 20:00
2000-09-10 21:00
2000-09-10 22:00
2000-09-10 23:00
2000-09-11
2000-09-11 01:00
2000-09-11 02:00
2000-09-11 03:00
2000-09-11 04:00
2000-09-11 05:00
2000-09-11 06:00
2000-09-11 07:00
2000-09-11 08:00
2000-09-11 09:00
2000-09-11 10:00
2000-09-11 11:00
2000-09-11 12:00
2000-09-11 13:00
2000-09-11 14:00
2000-09-11 15:00
2000-09-11 16:00
2000-09-11 17:00
2000-09-11 18:00
2000-09-11 19:00
2000-09-11 20:00
2000-09-11 21:00
2000-09-11 22:00
2000-09-11 23:00
2000-09-12
2000-09-12 01:00
2000-09-12 02:00
2000-09-12 03:00
2000-09-12 04:00
2000-09-12 05:00
2000-09-12 06:00
2000-09-12 07:00
2000-09-12 08:00
2000-09-12 09:00
2000-09-12 10:00
2000-09-12 11:00
2000-09-12 12:00
2000-09-12 13:00
2000-09-12 14:00
2000-09-12 15:00
2000-09-12 16:00
2000-09-12 17:00
2000-09-12 18:00
2000-09-12 19:00
2000-09-12 20:00
2000-09-12 21:00
2000-09-12 22:00
2000-09-12 23:00
2000-09-13
2000-09-13 01:00
2000-09-13 02:00
2000-09-13 03:00
2000-09-13 04:00
2000-09-13 05:00
2000-09-13 06:00
2000-09-13 07:00
2000-09-13 08:00
2000-09-13 09:00
2000-09-13 10:00
2000-09-13 11:00
2000-09-13 12:00
2000-09-13 13:00
2000-09-13 14:00
2000-09-13 15:00
2000-09-13 16:00
2000-09-13 17:00
2000-09-13 18:00
2000-09-13 19:00
2000-09-13 20:00
2000-09-13 21:00
2000-09-13 22:00
2000-09-13 23:00
2000-09-14
2000-09-14 01:00
2000-09-14 02:00
2000-09-14 03:00
2000-09-14 04:00
2000-09-14 05:00
2000-09-14 06:00
2000-09-14 07:00
2000-09-14 08:00
2000-09-14 09:00
2000-09-14 10:00
2000-09-14 11:00
2000-09-14 12:00
2000-09-14 13:00
2000-09-14 14:00
2000-09-14 15:00
2000-09-14 16:00
2000-09-14 17:00
2000-09-14 18:00
2000-09-14 19:00
2000-09-14 20:00
2000-09-14 21:00
2000-09-14 22:00
2000-09-14 23:00
2000-09-15
2000-09-15 01:00
2000-09-15 02:00
2000-09-15 03:00
2000-09-15 04:00
2000-09-15 05:00
2000-09-15 06:00
2000-09-15 07:00
2000-09-15 08:00
2000-09-15 09:00
2000-09-15 10:00
2000-09-15 11:00
2000-09-15 12:00
2000-09-15 13:00
2000-09-15 14:00
2000-09-15 15:00
2000-09-15 16:00
2000-09-15 17:00
2000-09-15 18:00
2000-09-15 19:00
2000-09-15 20:00
2000-09-15 21:00
2000-09-15 22:00
2000-09-15 23:00
2000-09-16
2000-09-16 01:00
2000-09-16 02:00
2000-09-16 03:00
2000-09-16 04:00
2000-09-16 05:00
2000-09-16 06:00
2000-09-16 07:00
2000-09-16 08:00
2000-09-16 09:00
2000-09-16 10:00
2000-09-16 11:00
2000-09-16 12:00
2000-09-16 13:00
2000-09-16 14:00
2000-09-16 15:00
2000-09-16 16:00
2000-09-16 17:00
2000-09-16 18:00
2000-09-16 19:00
2000-09-16 20:00
2000-09-16 21:00
2000-09-16 22:00
2000-09-16 23:00
2000-09-17
2000-09-17 01:00
2000-09-17 02:00
2000-09-17 03:00
2000-09-17 04:00
2000-09-17 05:00
2000-09-17 06:00
2000-09-17 07:00
2000-09-17 08:00
2000-09-17 09:00
2000-09-17 10:00
2000-09-17 11:00
2000-09-17 12:00
2000-09-17 13:00
2000-09-17 14:00
2000-09-17 15:00
2000-09-17 16:00
2000-09-17 17:00
2000-09-17 18:00
2000-09-17 19:00
2000-09-17 20:00
2000-09-17 21:00
2000-09-17 22:00
2000-09-17 23:00
2000-09-18
2000-09-18 01:00
2000-09-18 02:00
2000-09-18 03:00
2000-09-18 04:00
2000-09-18 05:00
2000-09-18 06:00
2000-09-18 07:00
2000-09-18 08:00
2000-09-18 09:00
2000-09-18 10:00
2000-09-18 11:00
2000-09-18 12:00
2000-09-18 13:00
2000-09-18 14:00

## ET100B1
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux | West window Path 1 inside surface convective flux | West window Path 1 inside surface radiative flux | West window Path 1 surface total convective and radiative flux | West window Path 2 inside surface convective flux | West window Path 2 inside surface radiative flux | West window Path 2 surface total convective and radiative flux | West window Path 3 inside surface convective flux | West window Path 3 inside surface radiative flux | West window Path 3 surface total convective and radiative flux
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot | q,wwin1,conv | q,wwin1,rad | q,wwin1,tot | q,wwin2,conv | q,wwin2,rad | q,wwin2,tot | q,wwin3,conv | q,wwin3,rad | q,wwin3,tot
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2
2000-09-08 16:00
2000-09-08 17:00
2000-09-08 18:00
2000-09-08 19:00
2000-09-08 20:00
2000-09-08 21:00
2000-09-08 22:00
2000-09-08 23:00
2000-09-09
2000-09-09 01:00
2000-09-09 02:00
2000-09-09 03:00
2000-09-09 04:00
2000-09-09 05:00
2000-09-09 06:00
2000-09-09 07:00
2000-09-09 08:00
2000-09-09 09:00
2000-09-09 10:00
2000-09-09 11:00
2000-09-09 12:00
2000-09-09 13:00
2000-09-09 14:00
2000-09-09 15:00
2000-09-09 16:00
2000-09-09 17:00
2000-09-09 18:00
2000-09-09 19:00
2000-09-09 20:00
2000-09-09 21:00
2000-09-09 22:00
2000-09-09 23:00
2000-09-10
2000-09-10 01:00
2000-09-10 02:00
2000-09-10 03:00
2000-09-10 04:00
2000-09-10 05:00
2000-09-10 06:00
2000-09-10 07:00
2000-09-10 08:00
2000-09-10 09:00
2000-09-10 10:00
2000-09-10 11:00
2000-09-10 12:00
2000-09-10 13:00
2000-09-10 14:00
2000-09-10 15:00
2000-09-10 16:00
2000-09-10 17:00
2000-09-10 18:00
2000-09-10 19:00
2000-09-10 20:00
2000-09-10 21:00
2000-09-10 22:00
2000-09-10 23:00
2000-09-11
2000-09-11 01:00
2000-09-11 02:00
2000-09-11 03:00
2000-09-11 04:00
2000-09-11 05:00
2000-09-11 06:00
2000-09-11 07:00
2000-09-11 08:00
2000-09-11 09:00
2000-09-11 10:00
2000-09-11 11:00
2000-09-11 12:00
2000-09-11 13:00
2000-09-11 14:00
2000-09-11 15:00
2000-09-11 16:00
2000-09-11 17:00
2000-09-11 18:00
2000-09-11 19:00
2000-09-11 20:00
2000-09-11 21:00
2000-09-11 22:00
2000-09-11 23:00
2000-09-12
2000-09-12 01:00
2000-09-12 02:00
2000-09-12 03:00
2000-09-12 04:00
2000-09-12 05:00
2000-09-12 06:00
2000-09-12 07:00
2000-09-12 08:00
2000-09-12 09:00
2000-09-12 10:00
2000-09-12 11:00
2000-09-12 12:00
2000-09-12 13:00
2000-09-12 14:00
2000-09-12 15:00
2000-09-12 16:00
2000-09-12 17:00
2000-09-12 18:00
2000-09-12 19:00
2000-09-12 20:00
2000-09-12 21:00
2000-09-12 22:00
2000-09-12 23:00
2000-09-13
2000-09-13 01:00
2000-09-13 02:00
2000-09-13 03:00
2000-09-13 04:00
2000-09-13 05:00
2000-09-13 06:00
2000-09-13 07:00
2000-09-13 08:00
2000-09-13 09:00
2000-09-13 10:00
2000-09-13 11:00
2000-09-13 12:00
2000-09-13 13:00
2000-09-13 14:00
2000-09-13 15:00
2000-09-13 16:00
2000-09-13 17:00
2000-09-13 18:00
2000-09-13 19:00
2000-09-13 20:00
2000-09-13 21:00
2000-09-13 22:00
2000-09-13 23:00
2000-09-14
2000-09-14 01:00
2000-09-14 02:00
2000-09-14 03:00
2000-09-14 04:00
2000-09-14 05:00
2000-09-14 06:00
2000-09-14 07:00
2000-09-14 08:00
2000-09-14 09:00
2000-09-14 10:00
2000-09-14 11:00
2000-09-14 12:00
2000-09-14 13:00
2000-09-14 14:00
2000-09-14 15:00
2000-09-14 16:00
2000-09-14 17:00
2000-09-14 18:00
2000-09-14 19:00
2000-09-14 20:00
2000-09-14 21:00
2000-09-14 22:00
2000-09-14 23:00
2000-09-15
2000-09-15 01:00
2000-09-15 02:00
2000-09-15 03:00
2000-09-15 04:00
2000-09-15 05:00
2000-09-15 06:00
2000-09-15 07:00
2000-09-15 08:00
2000-09-15 09:00
2000-09-15 10:00
2000-09-15 11:00
2000-09-15 12:00
2000-09-15 13:00
2000-09-15 14:00
2000-09-15 15:00
2000-09-15 16:00
2000-09-15 17:00
2000-09-15 18:00
2000-09-15 19:00
2000-09-15 20:00
2000-09-15 21:00
2000-09-15 22:00
2000-09-15 23:00
2000-09-16
2000-09-16 01:00
2000-09-16 02:00
2000-09-16 03:00
2000-09-16 04:00
2000-09-16 05:00
2000-09-16 06:00
2000-09-16 07:00
2000-09-16 08:00
2000-09-16 09:00
2000-09-16 10:00
2000-09-16 11:00
2000-09-16 12:00
2000-09-16 13:00
2000-09-16 14:00
2000-09-16 15:00
2000-09-16 16:00
2000-09-16 17:00
2000-09-16 18:00
2000-09-16 19:00
2000-09-16 20:00
2000-09-16 21:00
2000-09-16 22:00
2000-09-16 23:00
2000-09-17
2000-09-17 01:00
2000-09-17 02:00
2000-09-17 03:00
2000-09-17 04:00
2000-09-17 05:00
2000-09-17 06:00
2000-09-17 07:00
2000-09-17 08:00
2000-09-17 09:00
2000-09-17 10:00
2000-09-17 11:00
2000-09-17 12:00
2000-09-17 13:00
2000-09-17 14:00
2000-09-17 15:00
2000-09-17 16:00
2000-09-17 17:00
2000-09-17 18:00
2000-09-17 19:00
2000-09-17 20:00
2000-09-17 21:00
2000-09-17 22:00
2000-09-17 23:00
2000-09-18
2000-09-18 01:00
2000-09-18 02:00
2000-09-18 03:00
2000-09-18 04:00
2000-09-18 05:00
2000-09-18 06:00
2000-09-18 07:00
2000-09-18 08:00
2000-09-18 09:00
2000-09-18 10:00
2000-09-18 11:00
2000-09-18 12:00
2000-09-18 13:00
2000-09-18 14:00
2000-09-18 15:00

## ET100A3
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A | Cell A
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | East window Path 1 inside surface convective flux | East window Path 1 inside surface radiative flux | East window Path 1 surface total convective and radiative flux | East window Path 2 inside surface convective flux | East window Path 2 inside surface radiative flux | East window Path 2 surface total convective and radiative flux | East window Path 3 inside surface convective flux | East window Path 3 inside surface radiative flux | East window Path 3 surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux | Ceiling Path 1 inside surface temperature | Ceiling Path 2 inside surface temperature | Floor Path 1 inside surface temperature | Floor Path 2 inside surface temperature | Floor Path 3 inside surface temperature | North wall inside surface temperature | Door inside surface temperature | East wall inside surface temperature | East window Path 1 inside surface temperature | East window Path 2 inside surface temperature | East window Path 3 inside surface temperature | South wall inside surface temperature | South window Path 1 inside surface temperature | South window Path 2 inside surface temperature | South window Path 3 inside surface temperature | West wall inside surface temperature
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,ewin1,conv | q,ewin1,rad | q,ewin1,tot | q,ewin2,conv | q,ewin2,rad | q,ewin2,tot | q,ewin3,conv | q,ewin3,rad | q,ewin3,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot | T,c1 | T,c2 | T,f1 | T,f2 | T,f3 | T,n | T,d | T,e | T,ewin1 | T,ewin2 | T,ewin3 | T,s | T,swin1 | T,swin2 | T,swin3 | T,w
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
2000-09-08 16:00
2000-09-08 17:00
2000-09-08 18:00
2000-09-08 19:00
2000-09-08 20:00
2000-09-08 21:00
2000-09-08 22:00
2000-09-08 23:00
2000-09-09
2000-09-09 01:00
2000-09-09 02:00
2000-09-09 03:00
2000-09-09 04:00
2000-09-09 05:00
2000-09-09 06:00
2000-09-09 07:00
2000-09-09 08:00
2000-09-09 09:00
2000-09-09 10:00
2000-09-09 11:00
2000-09-09 12:00
2000-09-09 13:00
2000-09-09 14:00
2000-09-09 15:00
2000-09-09 16:00
2000-09-09 17:00
2000-09-09 18:00
2000-09-09 19:00
2000-09-09 20:00
2000-09-09 21:00
2000-09-09 22:00
2000-09-09 23:00
2000-09-10
2000-09-10 01:00
2000-09-10 02:00
2000-09-10 03:00
2000-09-10 04:00
2000-09-10 05:00
2000-09-10 06:00
2000-09-10 07:00
2000-09-10 08:00
2000-09-10 09:00
2000-09-10 10:00
2000-09-10 11:00
2000-09-10 12:00
2000-09-10 13:00
2000-09-10 14:00
2000-09-10 15:00
2000-09-10 16:00
2000-09-10 17:00
2000-09-10 18:00
2000-09-10 19:00
2000-09-10 20:00
2000-09-10 21:00
2000-09-10 22:00
2000-09-10 23:00
2000-09-11
2000-09-11 01:00
2000-09-11 02:00
2000-09-11 03:00
2000-09-11 04:00
2000-09-11 05:00
2000-09-11 06:00
2000-09-11 07:00
2000-09-11 08:00
2000-09-11 09:00
2000-09-11 10:00
2000-09-11 11:00
2000-09-11 12:00
2000-09-11 13:00
2000-09-11 14:00
2000-09-11 15:00
2000-09-11 16:00
2000-09-11 17:00
2000-09-11 18:00
2000-09-11 19:00
2000-09-11 20:00
2000-09-11 21:00
2000-09-11 22:00
2000-09-11 23:00
2000-09-12
2000-09-12 01:00
2000-09-12 02:00
2000-09-12 03:00
2000-09-12 04:00
2000-09-12 05:00
2000-09-12 06:00
2000-09-12 07:00
2000-09-12 08:00
2000-09-12 09:00
2000-09-12 10:00
2000-09-12 11:00
2000-09-12 12:00
2000-09-12 13:00
2000-09-12 14:00
2000-09-12 15:00
2000-09-12 16:00
2000-09-12 17:00
2000-09-12 18:00
2000-09-12 19:00
2000-09-12 20:00
2000-09-12 21:00
2000-09-12 22:00
2000-09-12 23:00
2000-09-13
2000-09-13 01:00
2000-09-13 02:00
2000-09-13 03:00
2000-09-13 04:00
2000-09-13 05:00
2000-09-13 06:00
2000-09-13 07:00
2000-09-13 08:00
2000-09-13 09:00
2000-09-13 10:00
2000-09-13 11:00
2000-09-13 12:00
2000-09-13 13:00
2000-09-13 14:00
2000-09-13 15:00
2000-09-13 16:00
2000-09-13 17:00
2000-09-13 18:00
2000-09-13 19:00
2000-09-13 20:00
2000-09-13 21:00
2000-09-13 22:00
2000-09-13 23:00
2000-09-14
2000-09-14 01:00
2000-09-14 02:00
2000-09-14 03:00
2000-09-14 04:00
2000-09-14 05:00
2000-09-14 06:00
2000-09-14 07:00
2000-09-14 08:00
2000-09-14 09:00
2000-09-14 10:00
2000-09-14 11:00
2000-09-14 12:00
2000-09-14 13:00
2000-09-14 14:00
2000-09-14 15:00
2000-09-14 16:00
2000-09-14 17:00
2000-09-14 18:00
2000-09-14 19:00
2000-09-14 20:00
2000-09-14 21:00
2000-09-14 22:00
2000-09-14 23:00
2000-09-15
2000-09-15 01:00
2000-09-15 02:00
2000-09-15 03:00
2000-09-15 04:00
2000-09-15 05:00
2000-09-15 06:00
2000-09-15 07:00
2000-09-15 08:00
2000-09-15 09:00
2000-09-15 10:00
2000-09-15 11:00
2000-09-15 12:00
2000-09-15 13:00
2000-09-15 14:00
2000-09-15 15:00
2000-09-15 16:00
2000-09-15 17:00
2000-09-15 18:00
2000-09-15 19:00
2000-09-15 20:00
2000-09-15 21:00
2000-09-15 22:00
2000-09-15 23:00
2000-09-16
2000-09-16 01:00
2000-09-16 02:00
2000-09-16 03:00
2000-09-16 04:00
2000-09-16 05:00
2000-09-16 06:00
2000-09-16 07:00
2000-09-16 08:00
2000-09-16 09:00
2000-09-16 10:00
2000-09-16 11:00
2000-09-16 12:00
2000-09-16 13:00
2000-09-16 14:00
2000-09-16 15:00
2000-09-16 16:00
2000-09-16 17:00
2000-09-16 18:00
2000-09-16 19:00
2000-09-16 20:00
2000-09-16 21:00
2000-09-16 22:00
2000-09-16 23:00
2000-09-17
2000-09-17 01:00
2000-09-17 02:00
2000-09-17 03:00
2000-09-17 04:00
2000-09-17 05:00
2000-09-17 06:00
2000-09-17 07:00
2000-09-17 08:00
2000-09-17 09:00
2000-09-17 10:00
2000-09-17 11:00
2000-09-17 12:00
2000-09-17 13:00
2000-09-17 14:00
2000-09-17 15:00
2000-09-17 16:00
2000-09-17 17:00
2000-09-17 18:00
2000-09-17 19:00
2000-09-17 20:00
2000-09-17 21:00
2000-09-17 22:00
2000-09-17 23:00
2000-09-18
2000-09-18 01:00
2000-09-18 02:00
2000-09-18 03:00
2000-09-18 04:00
2000-09-18 05:00
2000-09-18 06:00
2000-09-18 07:00
2000-09-18 08:00
2000-09-18 09:00
2000-09-18 10:00
2000-09-18 11:00
2000-09-18 12:00
2000-09-18 13:00
2000-09-18 14:00

## ET100B3
| Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Input Check | Required Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output | Optional Output
| Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B | Cell B
| Attic air temperature | Cellar air temperature | North guard air temperature | East guard air temperature | South guard air temperature | West guard air temperature | Test cell air temperature | Fan energy consumption | Supply air flow rate | Heater energy consumption | Ceiling Path 1 inside surface convective flux | Ceiling Path 1 inside surface radiative flux | Ceiling Path 1 inside surface total convective and radiative flux | Ceiling Path 2 inside surface convective flux | Ceiling Path 2 inside surface radiative flux | Ceiling Path 2 inside surface total convective and radiative flux | Floor Path 1 inside surface convective flux | Floor Path 1 inside surface radiative flux | Floor Path 1 inside surface total convective and radiative flux | Floor Path 2 inside surface convective flux | Floor Path 2 inside surface radiative flux | Floor Path 2 inside surface total convective and radiative flux | Floor Path 3 inside surface convective flux | Floor Path 3 inside surface radiative flux | Floor Path 3 inside surface total convective and radiative flux | North wall inside surface convective flux | North wall inside surface radiative flux | North wall inside surface total convective and radiative flux | Door inside surface convective flux | Door inside surface radiative flux | Door inside surface total convective and radiative flux | East wall inside surface convective flux | East wall inside surface radiative flux | East wall inside surface total convective and radiative flux | South wall inside surface convective flux | South wall inside surface radiative flux | South wall inside surface total convective and radiative flux | South window Path 1 inside surface convective flux | South window Path 1 inside surface radiative flux | South window Path 1 surface total convective and radiative flux | South window Path 2 inside surface convective flux | South window Path 2 inside surface radiative flux | South window Path 2 surface total convective and radiative flux | South window Path 3 inside surface convective flux | South window Path 3 inside surface radiative flux | South window Path 3 surface total convective and radiative flux | West wall inside surface convective flux | West wall inside surface radiative flux | West wall inside surface total convective and radiative flux | West window Path 1 inside surface convective flux | West window Path 1 inside surface radiative flux | West window Path 1 surface total convective and radiative flux | West window Path 2 inside surface convective flux | West window Path 2 inside surface radiative flux | West window Path 2 surface total convective and radiative flux | West window Path 3 inside surface convective flux | West window Path 3 inside surface radiative flux | West window Path 3 surface total convective and radiative flux | Ceiling Path 1 inside surface temperature | Ceiling Path 2 inside surface temperature | Floor Path 1 inside surface temperature | Floor Path 2 inside surface temperature | Floor Path 3 inside surface temperature | North wall inside surface temperature | Door inside surface temperature | East wall inside surface temperature | South wall inside surface temperature | South window Path 1 inside surface temperature | South window Path 2 inside surface temperature | South window Path 3 inside surface temperature | West wall inside surface temperature | West window Path 1 inside surface temperature | West window Path 2 inside surface temperature | West window Path 3 inside surface temperature
Date | Tattic | Tcellar | Tnorth | Teast | Tsouth | Twest | Tcell | Qfan | HWDsafr | Qhtr | q,c1,conv | q,c1,rad | q,c1,tot | q,c2,conv | q,c2,rad | q,c2,tot | q,f1,conv | q,f1,rad | q,f1,tot | q,f2,conv | q,f2,rad | q,f2,tot | q,f3,conv | q,f3,rad | q,f3,tot | q,n,conv | q,n,rad | q,n,tot | q,d,conv | q,d,rad | q,d,tot | q,e,conv | q,e,rad | q,e,tot | q,s,conv | q,s,rad | q,s,tot | q,swin1,conv | q,swin1,rad | q,swin1,tot | q,swin2,conv | q,swin2,rad | q,swin2,tot | q,swin3,conv | q,swin3,rad | q,swin3,tot | q,w,conv | q,w,rad | q,w,tot | q,wwin1,conv | q,wwin1,rad | q,wwin1,tot | q,wwin2,conv | q,wwin2,rad | q,wwin2,tot | q,wwin3,conv | q,wwin3,rad | q,wwin3,tot | T,c1 | T,c2 | T,f1 | T,f2 | T,f3 | T,n | T,d | T,e | T,s | T,swin1 | T,swin2 | T,swin3 | T,w | T,wwin1 | T,wwin2 | T,wwin3
(XLS format) | °C | °C | °C | °C | °C | °C | °C | Wh | m3/h | Wh | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | Wh/m2 | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C | °C
2000-09-08 16:00
2000-09-08 17:00
2000-09-08 18:00
2000-09-08 19:00
2000-09-08 20:00
2000-09-08 21:00
2000-09-08 22:00
2000-09-08 23:00
2000-09-09
2000-09-09 01:00
2000-09-09 02:00
2000-09-09 03:00
2000-09-09 04:00
2000-09-09 05:00
2000-09-09 06:00
2000-09-09 07:00
2000-09-09 08:00
2000-09-09 09:00
2000-09-09 10:00
2000-09-09 11:00
2000-09-09 12:00
2000-09-09 13:00
2000-09-09 14:00
2000-09-09 15:00
2000-09-09 16:00
2000-09-09 17:00
2000-09-09 18:00
2000-09-09 19:00
2000-09-09 20:00
2000-09-09 21:00
2000-09-09 22:00
2000-09-09 23:00
2000-09-10
2000-09-10 01:00
2000-09-10 02:00
2000-09-10 03:00
2000-09-10 04:00
2000-09-10 05:00
2000-09-10 06:00
2000-09-10 07:00
2000-09-10 08:00
2000-09-10 09:00
2000-09-10 10:00
2000-09-10 11:00
2000-09-10 12:00
2000-09-10 13:00
2000-09-10 14:00
2000-09-10 15:00
2000-09-10 16:00
2000-09-10 17:00
2000-09-10 18:00
2000-09-10 19:00
2000-09-10 20:00
2000-09-10 21:00
2000-09-10 22:00
2000-09-10 23:00
2000-09-11
2000-09-11 01:00
2000-09-11 02:00
2000-09-11 03:00
2000-09-11 04:00
2000-09-11 05:00
2000-09-11 06:00
2000-09-11 07:00
2000-09-11 08:00
2000-09-11 09:00
2000-09-11 10:00
2000-09-11 11:00
2000-09-11 12:00
2000-09-11 13:00
2000-09-11 14:00
2000-09-11 15:00
2000-09-11 16:00
2000-09-11 17:00
2000-09-11 18:00
2000-09-11 19:00
2000-09-11 20:00
2000-09-11 21:00
2000-09-11 22:00
2000-09-11 23:00
2000-09-12
2000-09-12 01:00
2000-09-12 02:00
2000-09-12 03:00
2000-09-12 04:00
2000-09-12 05:00
2000-09-12 06:00
2000-09-12 07:00
2000-09-12 08:00
2000-09-12 09:00
2000-09-12 10:00
2000-09-12 11:00
2000-09-12 12:00
2000-09-12 13:00
2000-09-12 14:00
2000-09-12 15:00
2000-09-12 16:00
2000-09-12 17:00
2000-09-12 18:00
2000-09-12 19:00
2000-09-12 20:00
2000-09-12 21:00
2000-09-12 22:00
2000-09-12 23:00
2000-09-13
2000-09-13 01:00
2000-09-13 02:00
2000-09-13 03:00
2000-09-13 04:00
2000-09-13 05:00
2000-09-13 06:00
2000-09-13 07:00
2000-09-13 08:00
2000-09-13 09:00
2000-09-13 10:00
2000-09-13 11:00
2000-09-13 12:00
2000-09-13 13:00
2000-09-13 14:00
2000-09-13 15:00
2000-09-13 16:00
2000-09-13 17:00
2000-09-13 18:00
2000-09-13 19:00
2000-09-13 20:00
2000-09-13 21:00
2000-09-13 22:00
2000-09-13 23:00
2000-09-14
2000-09-14 01:00
2000-09-14 02:00
2000-09-14 03:00
2000-09-14 04:00
2000-09-14 05:00
2000-09-14 06:00
2000-09-14 07:00
2000-09-14 08:00
2000-09-14 09:00
2000-09-14 10:00
2000-09-14 11:00
2000-09-14 12:00
2000-09-14 13:00
2000-09-14 14:00
2000-09-14 15:00
2000-09-14 16:00
2000-09-14 17:00
2000-09-14 18:00
2000-09-14 19:00
2000-09-14 20:00
2000-09-14 21:00
2000-09-14 22:00
2000-09-14 23:00
2000-09-15
2000-09-15 01:00
2000-09-15 02:00
2000-09-15 03:00
2000-09-15 04:00
2000-09-15 05:00
2000-09-15 06:00
2000-09-15 07:00
2000-09-15 08:00
2000-09-15 09:00
2000-09-15 10:00
2000-09-15 11:00
2000-09-15 12:00
2000-09-15 13:00
2000-09-15 14:00
2000-09-15 15:00
2000-09-15 16:00
2000-09-15 17:00
2000-09-15 18:00
2000-09-15 19:00
2000-09-15 20:00
2000-09-15 21:00
2000-09-15 22:00
2000-09-15 23:00
2000-09-16
2000-09-16 01:00
2000-09-16 02:00
2000-09-16 03:00
2000-09-16 04:00
2000-09-16 05:00
2000-09-16 06:00
2000-09-16 07:00
2000-09-16 08:00
2000-09-16 09:00
2000-09-16 10:00
2000-09-16 11:00
2000-09-16 12:00
2000-09-16 13:00
2000-09-16 14:00
2000-09-16 15:00
2000-09-16 16:00
2000-09-16 17:00
2000-09-16 18:00
2000-09-16 19:00
2000-09-16 20:00
2000-09-16 21:00
2000-09-16 22:00
2000-09-16 23:00
2000-09-17
2000-09-17 01:00
2000-09-17 02:00
2000-09-17 03:00
2000-09-17 04:00
2000-09-17 05:00
2000-09-17 06:00
2000-09-17 07:00
2000-09-17 08:00
2000-09-17 09:00
2000-09-17 10:00
2000-09-17 11:00
2000-09-17 12:00
2000-09-17 13:00
2000-09-17 14:00
2000-09-17 15:00
2000-09-17 16:00
2000-09-17 17:00
2000-09-17 18:00
2000-09-17 19:00
2000-09-17 20:00
2000-09-17 21:00
2000-09-17 22:00
2000-09-17 23:00
2000-09-18
2000-09-18 01:00
2000-09-18 02:00
2000-09-18 03:00
2000-09-18 04:00
2000-09-18 05:00
2000-09-18 06:00
2000-09-18 07:00
2000-09-18 08:00
2000-09-18 09:00
2000-09-18 10:00
2000-09-18 11:00
2000-09-18 12:00
2000-09-18 13:00
2000-09-18 14:00
2000-09-18 15:00